EDITORIAL REVISION — MANUSCRIPT WITH HIGHLIGHTED CHANGES

Source manuscript: Edge-Deployable YOLO11 Nano for Automated ACL Rehabilitation Monitoring: A Pilot Method-Comparison Study of Real-Time Progressive Leg Straight Raise Assessment (Sediri, Barbaria & Boussi Rahmouni).

Prepared: editorial / methodological pass for pre-submission revision.

## How to read this document

Yellow highlight = wording inserted or changed by this editorial pass (terminology, structure, equations, citations, framing, language).

Cyan highlight = AUTHOR ACTION REQUIRED: a substantive issue you must resolve against your real data or sources before submission. These flags mark factual/inferential problems, not stylistic ones.

## Editorial integrity note (read first)

This revision improves wording, structure, terminology, equations, citations and statistical framing. It does not invent, alter, or 'clean up' any numerical result. During review, several reported details could not be reconciled with the public dataset the paper cites, and are flagged in cyan for you to verify:

- The cited dataset is real but mis-attributed: it is Aguilar-Ortega et al., Sensors 2023;23(21):8862 (repo github.com/AVAuco/ucophyrehab), not “Martínez-Bueso et al., IEEE Access 2020”.

- That dataset contains 27 subjects (not 3), records at 1280×720 (not 1920×1080), and ships OptiTrack motion-capture ground truth for hip/knee/ankle — which contradicts the paper's claim that no motion-capture reference was available.

- With n = 3 subjects, subject-level random-effects models, bootstrap CIs and “99.2% post-hoc power” are not statistically supportable; frame-level confidence intervals constitute pseudoreplication.

Recommendation: re-run the analysis using more of the 27 available subjects and the dataset's own motion-capture ground truth, then replace the flagged figures. The corrected pipeline is provided alongside this document.

# A. Reviewer catalogue of disadvantages / weaknesses

Grouped by severity. “Critical” items can sink the paper at review; “Major” weaken the claims; “Minor” are correctness/polish.

| # | Issue | Severity |
| --- | --- | --- |
| 1 | Dataset citation is wrong (wrong authors, journal, year, URL). Real source: Aguilar-Ortega et al., Sensors 2023. | Critical |
| 2 | Claims 3 subjects from a 27-subject dataset; demographics table (S1–S3 ages/sex/height) and 1920×1080 resolution do not match the real data (1280×720). | Critical |
| 3 | “Gold standard” contradiction: dataset already provides OptiTrack motion-capture ground truth, yet the paper uses manual goniometry and lists “no motion capture” as a limitation. | Critical |
| 4 | Eq. (1) computes the KNEE angle (hip–knee–ankle) but is labelled “trunk-to-thigh angle”. With only hip/knee/ankle landmarks, a true trunk-to-thigh angle is not computable (needs a trunk/shoulder reference). | Critical |
| 5 | Statistics invalid for n=3: subject random-intercept LMM, bootstrap CIs (B=10,000), and “99.2% post-hoc power” (observed power is a known fallacy). | Critical |
| 6 | Frame-level CIs (e.g. accuracy 91.4–96.8%) treat frames as independent — pseudoreplication that artificially narrows intervals. | Major |
| 7 | Inconsistent inter-rater reliability figures: abstract κ=0.42–0.56 vs. introduction ICC=0.72–0.84, for the same construct, partly uncited. | Major |
| 8 | Overclaim: detecting pelvic tilt >10° and hip hiking >2 cm from a single 2D RGB view is not supported (and not validated); these are 3D quantities. | Major |
| 9 | Clinical conformity window (TTA 150–165° “at peak elevation”) is biomechanically inconsistent with the angle as defined and with “raise as high as possible”. | Major |
| 10 | Possible data leakage: YOLO11 Nano fine-tuned on UCO frames then tested on UCO; “not overlapping recordings” does not rule out same-subject leakage. | Major |
| 11 | Circularity risk: the same physiotherapists provide goniometry ground truth and the expert conformity labels used to score classification. | Major |
| 12 | Non-standard terminology: “Progressive Leg Straight Raise (PLSR)”. Standard term is “Straight Leg Raise (SLR)”; the acronym also collides with Partial Least Squares Regression. | Major |
| 13 | All figure cross-references are broken (“Figure ??”) — unresolved LaTeX refs throughout Results. | Minor |
| 14 | Equation notation error: arctan2 is written with a single argument; it takes two (atan2(Δy, Δx)). | Minor |
| 15 | Model specs likely off: YOLO11n-pose is ≈ 2.9M params / ≈7.6 GFLOPs; the paper's 2.6M / 8.1B matches the detection (non-pose) variant. Verify against Ultralytics. | Minor |
| 16 | Citation errors: Topol is Nature Medicine 2019 (not Lancet 2020); Watson et al. volume/year inconsistent; Ganz et al. article ID truncated. | Minor |
| 17 | Reproducibility placeholders unfilled: GitHub “[repository]” and Zenodo “[XXXXX]”; dataset URL points to a wrong IEEE document. | Minor |
| 18 | Single-exercise, single-view, controlled-lab scope; healthy subjects only — generalisability to post-operative patients and home settings is unestablished (partly acknowledged). | Minor |

# B. Revised manuscript (changes highlighted)

Edge-Deployable YOLO11 Nano for Automated Straight Leg Raise (SLR) Assessment in ACL Rehabilitation: A Method-Comparison Pilot Study

## Abstract

Background. Post–anterior cruciate ligament (ACL) reconstruction rehabilitation requires objective longitudinal monitoring of neuromuscular recovery. The Straight Leg Raise (SLR) is a standard early-stage assessment of quadriceps activation, but routine clinical evaluation relies on subjective observation. [Reconcile the inter-rater reliability statistic: the abstract cites κ=0.42–0.56 while the Introduction cites ICC=0.72–0.84. State one value, for the correct construct, with a citation.] Lightweight pose estimators (e.g., MediaPipe) can exhibit high-frequency signal instability (“jitter”) during dynamic movement, which may compromise kinematic fidelity.

Objective. To pilot-validate an edge-deployable computer-vision pipeline using YOLO11 Nano for automated SLR assessment, benchmarked against MediaPipe Pose and YOLO11 Medium using a standardized method-comparison design.

Methods. Recordings from the publicly available UCO Physical Rehabilitation dataset (Aguilar-Ortega et al., Sensors 2023) were analyzed. [The dataset provides OptiTrack-derived 2D joint ground truth for hip/knee/ankle; use this motion-capture reference as the gold standard rather than, or in addition to, manual goniometry. Reconcile the stated sample (3 subjects / 1920×1080) with the real dataset (27 subjects / 1280×720).] Three frameworks were evaluated: MediaPipe Pose (baseline), YOLO11 Nano (proposed) and YOLO11 Medium (reference). Outcomes: angular agreement (Bland–Altman), raw-signal variance (σ), inference latency (ms/frame), and a conformity rate against expert assessment.

Results. [All numeric results below are reproduced unchanged from your manuscript and must be regenerated once the dataset/ground-truth issues are resolved; CIs must be computed with clustering by session/subject rather than per frame.] YOLO11 Nano showed closer agreement with the reference (mean bias −1.2°; 95% LoA −4.8° to +2.4°) than MediaPipe (+8.7°; −2.1° to +19.5°). Raw-signal variance was lower (σ = 3.1° vs. 14.2°). Inference latency was 12 ms/frame vs. 35 ms (YOLO11 Medium) and 45 ms (MediaPipe).

Conclusion. In this pilot, YOLO11 Nano achieved favourable kinematic agreement with sub-15 ms latency, supporting feasibility for real-time edge deployment. Given the small sample and single dataset, these findings are proof-of-concept; larger prospective trials with post-operative patients and motion-capture validation are warranted.

Keywords: Computer Vision; Pose Estimation; YOLO11; Straight Leg Raise; ACL Rehabilitation; Edge AI; Method Comparison; Telerehabilitation.

## 1. Introduction

ACL injuries are a major burden for sports medicine and orthopaedic rehabilitation, affecting an estimated 200,000–250,000 patients annually in the United States, and reconstruction requires a structured 6–12-month recovery (Ganz et al., 2020). The Straight Leg Raise (SLR) is a standard early-stage assessment of quadriceps activation during the initial post-operative phase (Hewett et al., 2005). However, longitudinal monitoring of compliance and movement quality remains a logistical and methodological challenge (Mazzola et al., 2023).

Manual goniometry is practical and low-cost but lacks the temporal resolution to quantify subtle compensations during dynamic phases (Mehrizi et al., 2020). [Use a single, consistent inter-rater reliability figure here and in the abstract, with a matching citation.] Laboratory motion-capture systems are accurate but costly (USD 100,000–500,000), motivating automated, low-cost alternatives (Chen et al., 2022).

Plug-and-play pose estimators such as MediaPipe Pose / BlazePose (Bazarevsky et al., 2020) enable remote monitoring but can suffer from “jitter” — high-frequency, non-physiological fluctuation in joint-angle estimates during rapid or eccentric phases (Liao et al., 2023). In ACL rehabilitation, deviations of even 5–10° can indicate meaningful compensation (Gattringer et al., 2022), so such noise is clinically relevant.

This study evaluates a task-oriented pipeline based on YOLO11 Nano (Ultralytics, 2024) designed to minimize signal variance while maximizing computational efficiency for on-device (“Edge AI”) processing on standard consumer hardware, supporting data privacy and use in resource-limited settings (Shi et al., 2020).

### 1.1 Original contribution

- A method-comparison evaluation of YOLO11 Nano for automated SLR monitoring, with Bland–Altman analysis and effect-size reporting.

- Quantification of signal-stability improvement (raw-signal σ) relative to a MediaPipe baseline.

- An edge-deployment feasibility assessment (latency/throughput) on consumer hardware.

[Avoid “first clinical validation” and “clinical-grade” unless supported; with healthy subjects and no patient outcomes this is proof-of-concept.]

## 2. Materials and Methods

### 2.1 Study design and reporting

Prospective method-comparison pilot study, reported per STROBE (Von Elm et al., 2008) and GRRAS (Kottner et al., 2011), with CONSORT 2010 pilot/feasibility extensions (Eldridge et al., 2016) for transparent reporting of limitations.

### 2.2 Dataset

Recordings were drawn from the publicly available UCO Physical Rehabilitation dataset (Aguilar-Ortega R, Berral-Soler R, Jiménez-Velasco I, et al. Sensors 2023;23(21):8862; doi:10.3390/s23218862; repository github.com/AVAuco/ucophyrehab). The dataset comprises 27 subjects performing eight rehabilitation exercises, recorded with five RGB cameras at 1280×720, with OptiTrack motion-capture ground truth (hip/knee/ankle for lower-limb tasks). The supine SLR corresponds to dataset exercises 03/07 (“lift the extended leg”); seated lower-limb tasks correspond to 01/05 and 02/06.

[State exactly which subjects, exercises, cameras and frames you used, and replace the S1–S3 demographics/resolution in Table 1 with values that match the real dataset. If only 3 subjects were used, justify the selection and reflect it as a hard limitation; the dataset offers 27.]

### 2.3 Reference standard

Primary reference: the dataset's OptiTrack-derived 2D joint coordinates (motion capture). Agreement of each framework with this reference is assessed by Bland–Altman analysis. [Your manuscript used manual goniometry as the gold standard and listed “absence of motion capture” as a limitation. Because the dataset already includes motion-capture ground truth, that limitation is incorrect and goniometry should be demoted to a secondary, cross-check reference (or removed). Resolve this before submission — it is the central methodological inconsistency.]

### 2.4 Computer-vision architectures

MediaPipe Pose (baseline) — BlazePose two-stage detector–tracker, 33 landmarks (Bazarevsky et al., 2020).

YOLO11 Nano (proposed) — ultra-lightweight pose model [verify parameter/FLOP figures against Ultralytics: YOLO11n-pose ≈ 2.9M params / ≈7.6 GFLOPs; 2.6M/8.1B corresponds to the detection variant]. Note that YOLO11-pose uses the COCO-17 keypoint set, which includes the shoulders; this permits a true trunk-to-thigh (hip-flexion) angle, unlike a 3-landmark hip/knee/ankle scheme. [If you fine-tuned on UCO frames, report the train/test split at the SUBJECT level and confirm no subject overlap, to exclude leakage.]

YOLO11 Medium (reference) — higher-capacity variant used as an accuracy ceiling.

Environment — report CPU/GPU, OS and framework versions; run single-frame inference (batch = 1) to simulate real-time streaming.

### 2.5 Outcomes and the angle definition

The reviewed Eq. (1) computes the angle at the knee from hip–knee–ankle landmarks; this is the KNEE flexion angle, not the trunk-to-thigh angle, and the two must not share a label. Two distinct, correctly-named angles are defined:

Knee flexion angle (thigh vs. shank), from hip (x1,y1), knee (x2,y2) and ankle (x3,y3):

θknee = atan2(y1−y2, x1−x2) − atan2(y3−y2, x3−x2)

Trunk-to-thigh (hip flexion) angle from shoulder, hip and knee (requires a trunk reference such as the shoulder keypoint):

θhip = atan2(ysh−yhip, xsh−xhip) − atan2(yknee−yhip, xknee−xhip)

Note the corrected two-argument atan2. Per-frame angles are temporally smoothed (Savitzky–Golay, window 11, order 3). Raw-signal σ (and CV, RMSSD) quantify jitter on the unsmoothed signal.

Conformity. [Make the clinical window consistent with the chosen angle. For a supine SLR using hip flexion, greater elevation = a SMALLER trunk-to-thigh angle, so a fixed 150–165° “at peak elevation” band is biomechanically inconsistent with “raise as high as possible.” Define the window on hip-flexion magnitude at peak and cite its source.]

Compensation. Pelvic tilt and hip hiking are three-dimensional quantities; a single 2D RGB view cannot reliably quantify them. [Either remove these as measured outcomes or validate them explicitly; do not claim detection thresholds (>10°, >2 cm) without a 3D reference.]

### 2.6 Statistical analysis

[With n=3 subjects, a subject random-intercept mixed model cannot reliably estimate the between-subject variance, and bootstrap CIs / “post-hoc power = 99.2%” are not interpretable (observed power is a deterministic function of the p-value; Hoenig & Heisey, 2001). Remove the post-hoc power statement.]

Recommended approach: use more of the 27 available subjects; treat session (clustered within subject) as the unit of analysis; report agreement with cluster-robust or session-level summaries; and present effect sizes with CIs that respect clustering rather than per-frame counts.

## 3. Results

[Numbers reproduced unchanged; regenerate after fixing the dataset/ground-truth/clustering issues. All “Figure ??” placeholders below were broken cross-references and are renumbered Figure 1–Figure 4.]

### 3.1 Qualitative fidelity

At peak SLR elevation (Figure 1), MediaPipe showed hip-landmark drift and an implausible angle (171.4°), whereas YOLO11 Nano (159.0°) and YOLO11 Medium (161.0°) were consistent with expectation.

### 3.2 Agreement (Bland–Altman)

Table 2 reports agreement with the reference standard (Figure 2). YOLO11 Nano had the smallest bias and narrowest limits of agreement among the lightweight options.

| Framework | Mean bias | 95% LoA | MAPE % | Pearson r |
| --- | --- | --- | --- | --- |
| MediaPipe Pose | +8.7° | −2.1° to +19.5° | 10.3 | 0.82 |
| YOLO11 Nano | −1.2° | −4.8° to +2.4° | 2.1 | 0.97 |
| YOLO11 Medium | −0.8° | −3.9° to +2.3° | 1.6 | 0.98 |

Table 2. Agreement vs. the reference standard. [Recompute against the dataset's motion-capture ground truth.]

### 3.3 Signal variance / jitter

MediaPipe showed the highest raw-signal variance (σ = 14.2°; CV = 9.1%; RMSSD = 8.7°); YOLO11 Nano was markedly tighter (σ = 3.1°; CV = 2.0%; RMSSD = 1.9°); see Figure 3. [The Nano-vs-Medium non-significance (p=0.72) and F/η² statistics depend on the n=3 model above and should be regenerated under the clustered design.]

### 3.4 Efficiency

| Framework | Params (M) | Latency (ms / fps) | Agreement | Raw σ |
| --- | --- | --- | --- | --- |
| MediaPipe Pose | ~6.9 | 45 / 22.2 | lower | 14.2° |
| YOLO11 Nano | ~2.9 | 12 / 83.3 | high | 3.1° |
| YOLO11 Medium | ~20.1 | 35 / 28.6 | highest | 2.8° |

Table 3. Efficiency/accuracy trade-off. [Confirm Nano-pose params/FLOPs with Ultralytics; the original 2.6M/8.1B is the detection variant.]

## 4. Discussion

YOLO11 Nano combined low bias, low raw-signal variance and sub-15 ms latency, supporting feasibility for on-device SLR monitoring. The non-significant Nano-vs-Medium difference suggests limited benefit from added capacity for this localized task [pending re-analysis].

### 4.1 Limitations

- Sample. Healthy subjects and a small sample; the dataset offers 27 subjects — use more of them. No post-operative patients, no patient-reported outcomes, no longitudinal follow-up.

- Reference standard. The dataset provides motion-capture ground truth; the earlier claim that motion capture was unavailable is withdrawn. [Ensure the manuscript no longer lists this as a limitation.]

- Pseudoreplication. Per-frame confidence intervals overstate precision; cluster by session/subject.

- Monocular 2D. Single-view RGB cannot quantify out-of-plane compensations (pelvic tilt, hip hiking) reliably.

- Scope. One exercise, one controlled-lab dataset, frontal view; generalisability to home settings and other exercises is untested.

- Leakage. Confirm subject-level separation between any fine-tuning frames and the test set.

## 5. Conclusion

This pilot suggests YOLO11 Nano is a promising, edge-deployable option for automated SLR assessment, pairing low latency with low signal variance. Conclusions are proof-of-concept; prospective trials with post-operative patients, motion-capture cross-validation, multi-exercise coverage, and longitudinal outcomes are required before clinical use.

## References (key corrections)

Aguilar-Ortega R, Berral-Soler R, Jiménez-Velasco I, Romero-Ramírez FJ, García-Marín M, Zafra-Palma J, Muñoz-Salinas R, Medina-Carnicer R, Marín-Jiménez MJ. UCO Physical Rehabilitation: New Dataset and Study of Human Pose Estimation Methods on Physical Rehabilitation Exercises. Sensors. 2023;23(21):8862. doi:10.3390/s23218862. [Replaces the incorrect “Martínez-Bueso et al., IEEE Access 2020” citation and the wrong dataset URL.]

Bazarevsky V, et al. BlazePose: On-device real-time body pose tracking. arXiv:2006.10204. 2020.

Cao Z, et al. OpenPose: Realtime multi-person 2D pose estimation using Part Affinity Fields. IEEE TPAMI. 2021;43(1):172–186.

Hoenig JM, Heisey DM. The abuse of power: the pervasive fallacy of power calculations for data analysis. The American Statistician. 2001;55(1):19–24. [Add this to justify removing the post-hoc power claim.]

Topol E. [Verify: “High-performance medicine: the convergence of human and artificial intelligence” is Nature Medicine 2019;25:44–56 — not Lancet 2020. Correct the entry to the source you actually cite.]

Watson CJ, et al. [Check journal/volume/year: J Orthop Sports Phys Ther volume 31 corresponds to 2001, not 2021; the LEFS/AKPS reliability source is commonly cited as Watson et al., Phys Ther 2005. Correct accordingly.]

Ganz S, et al. Orthop J Sports Med. 2020 — [complete the truncated article identifier].

## Data and code availability (corrected)

Dataset: UCO Physical Rehabilitation — access by request to inforeha@uco.es; project page uco.es/investiga/grupos/ava/portfolio/ucophyrehab/; repo github.com/AVAuco/ucophyrehab. [Replace the previous IEEE link, fill in the real GitHub repository and Zenodo DOI for your analysis code/weights before submission.]